## Sheet1
OPEN 6.3.4
Thr Aug 17 2023 10:33:36
Unit= | PSC-1491
LCF= | LCF-0388
LCFCals= | -2.66 | -2.23 | -2923
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/FactoryDefault_6.3.xml
Remark=
Obs | HHMMSS | FTime | EBal? | ID | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in |  | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:42:57 Flow: Fixed -> 500 umol/s"
Remark= | "10:43:22 CO2 Mixer: CO2R -> 410 uml"
Remark= | "10:43:36 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "10:47:58 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
1 | 10:50:45 | 1045.5 | 0 | LCOR-308 | -1.4044 | -0.010471 | 190.954 | -0.1512 | 1.4006 | 27.8732 | 6 | 1.42 | 1 | 2.84 | 27.8321 | 27.8732 | 27.85 | 410.042 | 411.8026 | 23.7398 | 23.5625 | 63.4418 | 62.9681 | 499.8118 | 400.0476 | 526.6464 | 100.4242 | 0.02801 | 1.4018 | 0.12824 | 0.0065811 | 0.050233 | 0.0072648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83302 | -0.0001512 | 301.0232 | 300.9821 | 64.0076 | 0.79485 | 3.7669 | 37.5097 | 13.9472 | 27.8526 | 3.7624 | -0.01051 | 2.3662 | 1.3961 | -0.0065653 | 19.1764 | 0.4637 | 61.504 | 412.4701 | -0.0020941
2 | 10:55:17 | 1317.9999 | 0 | LCOR-070 | 0.35635 | 0.0016957 | 67.7779 | 0.024092 | 1.3838 | 27.9179 | 6 | 1.42 | 1 | 2.84 | 28.5319 | 27.9179 | 28.571 | 410.0527 | 409.6131 | 23.7986 | 23.8268 | 61.0623 | 61.1347 | 499.8351 | 398.7248 | 696.2252 | 100.4279 | 0.02801 | 1.4018 | 0.12824 | 0.0065811 | 0.050233 | 0.0072648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83306 | 2.4092e-05 | 301.0679 | 301.6819 | 63.796 | 0.79235 | 3.7767 | 37.6061 | 13.7793 | 28.2249 | 3.8449 | 0.0016947 | 2.3929 | 1.452 | 0.0010593 | 6.8068 | 0.16547 | 62.2203 | 409.4437 | 0.00054152
Remark= | "10:56:53 LCF Lamp: ParIn -> 930 uml, with blue = 10 percent, actinic on"
3 | 10:59:49 | 1590.9999 | 0 | LCOR-282 | -0.50238 | -0.0043442 | 215.7858 | -0.088615 | 1.9765 | 30.4634 | 6 | 1.42 | 1 | 2.84 | 29.2778 | 30.4634 | 29.3065 | 410.1397 | 410.7864 | 23.988 | 23.8842 | 58.9473 | 58.6922 | 499.8517 | 930.2862 | 279.621 | 100.4297 | 0.02801 | 1.4018 | 0.12824 | 0.0065811 | 0.050233 | 0.0072648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | -8.8615e-05 | 303.6134 | 302.4278 | 148.8458 | 1.5634 | 4.3752 | 43.5647 | 19.6805 | 29.8706 | 4.2289 | -0.0043508 | 2.3987 | 1.8302 | -0.0027187 | 21.6713 | 0.5253 | 53.1764 | 411.0252 | -0.00064995
4 | 10:59:50 | 1591.4999 | 0 | LCOR-282 | -0.65061 | -0.0044606 | 168.466 | -0.09101 | 1.9769 | 30.4641 | 6 | 1.42 | 1 | 2.84 | 29.278 | 30.4641 | 29.3065 | 410.1423 | 410.9682 | 23.9888 | 23.8822 | 58.9489 | 58.6869 | 499.8675 | 930.4063 | 280.3207 | 100.4298 | 0.02801 | 1.4018 | 0.12824 | 0.0065811 | 0.050233 | 0.0072648 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | -9.101e-05 | 303.6141 | 302.428 | 148.865 | 1.5647 | 4.3753 | 43.5662 | 19.684 | 29.871 | 4.229 | -0.0044676 | 2.3985 | 1.8305 | -0.0027916 | 16.919 | 0.40992 | 53.1677 | 411.2774 | -0.00084108
Remark= | "11:02:49 LCF Lamp: ParIn -> 300 uml, with blue = 10 percent, actinic on"
Remark= | "11:03:44 Flow: Fixed -> 500 umol/s"
5 | 11:04:53 | 1893 | 0 | LCOR-314 | 3.1798 | 0.027854 | 215.8083 | 0.3432 | 1.2108 | 27.6683 | 6 | 1.42 | 1 | 2.84 | 29.2866 | 27.6683 | 29.4044 | 410.1649 | 406.1795 | 24.6046 | 25.0064 | 60.4298 | 61.4166 | 499.7045 | 300.9633 | 947.5505 | 100.4265 | -1.1746 | 1.5346 | 0.085188 | 0.04554 | 0.031476 | 0.061053 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83284 | 0.0003432 | 300.8183 | 302.4366 | 48.1541 | 0.59078 | 3.7221 | 37.0626 | 12.0562 | 28.4774 | 3.9018 | 0.027583 | 2.5113 | 1.3905 | 0.017264 | 21.6729 | 0.53131 | 66.7549 | 404.668 | 0.0052454
Remark= | "11:08:06 LCF Lamp: ParIn -> 500 uml, with blue = 10 percent, actinic on"
6 | 11:10:27 | 2227.5 | 0 | LCOR-251 | 2.2769 | 0.016754 | 180.5903 | 0.28365 | 1.6542 | 29.4398 | 6 | 1.42 | 1 | 2.84 | 29.8214 | 29.4398 | 29.9866 | 410.0045 | 407.133 | 24.2725 | 24.6046 | 57.808 | 58.5989 | 499.8965 | 500.0985 | 667.7934 | 100.4316 | -1.1746 | 1.5346 | 0.085188 | 0.04554 | 0.031476 | 0.061053 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.00028365 | 302.5898 | 302.9714 | 80.0158 | 0.81441 | 4.1253 | 41.0755 | 16.4709 | 29.6306 | 4.1709 | 0.016656 | 2.4711 | 1.6998 | 0.010419 | 18.137 | 0.44357 | 58.7825 | 406.0507 | 0.0032962
Remark= | "11:12:19 LCF Lamp: ParIn -> 1050 uml, with blue = 10 percent, actinic on"
7 | 11:14:24 | 2465 | 0 | LCOR-250 | 4.1176 | 0.037717 | 219.1339 | 0.65811 | 1.7138 | 30.3651 | 6 | 1.42 | 1 | 2.84 | 30.0882 | 30.3651 | 30.1576 | 409.8591 | 404.5972 | 25.4879 | 26.2571 | 59.7752 | 61.5792 | 499.8778 | 1048.0427 | 0.043273 | 100.4249 | -1.1746 | 1.5346 | 0.085188 | 0.04554 | 0.031476 | 0.061053 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.00065811 | 303.5151 | 303.2382 | 167.6868 | 1.5274 | 4.3506 | 43.3221 | 17.065 | 30.2266 | 4.3162 | 0.037223 | 2.6369 | 1.6794 | 0.023308 | 22.0065 | 0.54161 | 59.724 | 402.6399 | 0.0061077
Remark= | "11:16:00 LCF Lamp: ParIn -> 680 uml, with blue = 10 percent, actinic on"
8 | 11:17:54 | 2674.9999 | 0 | LCOR-163 | 4.3283 | 0.044424 | 238.2622 | 0.70297 | 1.5593 | 29.678 | 6 | 1.42 | 1 | 2.84 | 30.2286 | 29.678 | 30.2934 | 410.0209 | 404.4847 | 25.298 | 26.1197 | 58.8527 | 60.7642 | 499.9012 | 680.1443 | 799.9348 | 100.4229 | -1.1746 | 1.5346 | 0.085188 | 0.04554 | 0.031476 | 0.061053 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 0.00070297 | 302.828 | 303.3786 | 108.8231 | 0.95377 | 4.1823 | 41.6467 | 15.527 | 29.9533 | 4.249 | 0.04374 | 2.623 | 1.626 | 0.027398 | 23.927 | 0.58905 | 62.0042 | 402.4273 | 0.0066688
Remark= | "11:19:11 LCF Lamp: ParIn -> 350 uml, with blue = 10 percent, actinic on"
9 | 11:21:09 | 2870.9999 | 0 | LCOR-217 | 1.0415 | 0.0040503 | -8.518 | 0.067242 | 1.6145 | 29.408 | 6 | 1.42 | 1 | 2.84 | 29.8913 | 29.408 | 29.9899 | 410.0299 | 408.7467 | 24.8478 | 24.9265 | 58.9351 | 59.1217 | 499.8469 | 348.5204 | 693.5716 | 100.4223 | -1.1746 | 1.5346 | 0.085188 | 0.04554 | 0.031476 | 0.061053 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 6.7242e-05 | 302.558 | 303.0413 | 55.7633 | 0.662 | 4.1177 | 41.004 | 16.0775 | 29.6497 | 4.1755 | 0.0040445 | 2.5032 | 1.6723 | 0.0025283 | -0.8554 | -0.020839 | 59.5116 | 408.2516 | 0.0015182
Remark= | "11:23:16 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "11:24:13 Flow: Fixed -> 500 umol/s"
10 | 11:25:33 | 3133.5 | 0 | LCOR-164 | 1.1978 | 0.010657 | 216.6541 | 0.24749 | 2.2536 | 32.3369 | 6 | 1.42 | 1 | 2.84 | 30.7203 | 32.3369 | 30.7451 | 410.2733 | 408.7142 | 25.7348 | 26.0241 | 58.2045 | 58.8588 | 499.8824 | 1298.6747 | 0.067453 | 100.418 | -1.0867 | 1.57 | 0.11603 | 0.055299 | 0.026653 | 0.060425 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.00024749 | 305.4869 | 303.8703 | 207.7879 | 1.9943 | 4.8669 | 48.4663 | 22.4422 | 31.5286 | 4.6491 | 0.010617 | 2.6133 | 2.0359 | 0.0066393 | 21.756 | 0.53009 | 52.0837 | 408.1449 | 0.0015285
Remark= | "11:27:55 LCF Lamp: ParIn -> 1150 uml, with blue = 10 percent, actinic on"
11 | 11:30:31 | 3432 | 0 | LCOR-507 | 0.086355 | -0.0010595 | 523.1321 | -0.023995 | 2.1854 | 32.7379 | 6 | 1.42 | 1 | 2.84 | 31.247 | 32.7379 | 31.2562 | 409.7485 | 409.6566 | 27.8415 | 27.8135 | 61.1026 | 61.0412 | 499.8519 | 1148.9801 | 208.0218 | 100.4125 | -1.0867 | 1.57 | 0.11603 | 0.055299 | 0.026653 | 0.060425 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | -2.3995e-05 | 305.8879 | 304.397 | 183.8368 | 1.8747 | 4.9782 | 49.5773 | 21.7638 | 31.9925 | 4.773 | -0.0010599 | 2.7928 | 1.9802 | -0.00066238 | 52.529 | 1.277 | 54.3171 | 409.6156 | 0.00011451
Remark= | "11:31:45 LCF Lamp: ParIn -> 1400 uml, with blue = 10 percent, actinic on"
12 | 11:34:13 | 3654.5 | 0 | LCOR-611 | 2.8794 | 0.021104 | 176.5492 | 0.44839 | 2.0655 | 32.6544 | 6 | 1.42 | 1 | 2.84 | 31.5145 | 32.6544 | 31.5203 | 409.8886 | 406.2136 | 28.2509 | 28.7736 | 61.068 | 62.198 | 499.8474 | 1399.6222 | 277.0227 | 100.417 | -1.0867 | 1.57 | 0.11603 | 0.055299 | 0.026653 | 0.060425 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | 0.00044839 | 305.8044 | 304.6645 | 223.9395 | 2.14 | 4.9548 | 49.3426 | 20.5689 | 32.0845 | 4.798 | 0.020948 | 2.8894 | 1.9086 | 0.013106 | 17.7285 | 0.43462 | 56.9397 | 404.8449 | 0.0040498
Remark= | "11:35:44 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
13 | 11:37:50 | 3870.9999 | 0 | LCOR-098 | 4.8618 | 0.03879 | 192.6927 | 0.64566 | 1.6297 | 31.503 | 6 | 1.42 | 1 | 2.84 | 31.7507 | 31.503 | 31.801 | 409.7563 | 403.6082 | 29.2499 | 30.0016 | 62.3858 | 63.9891 | 499.8919 | 1000.441 | 1095.3348 | 100.4174 | -1.0867 | 1.57 | 0.11603 | 0.055299 | 0.026653 | 0.060425 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 0.00064566 | 304.653 | 304.9007 | 160.0706 | 1.517 | 4.6424 | 46.2308 | 16.2292 | 31.6268 | 4.6752 | 0.038267 | 3.0127 | 1.6625 | 0.023963 | 19.3497 | 0.47743 | 63.9959 | 401.2971 | 0.0077532
Remark= | "11:38:20 Flow: Fixed -> 500 umol/s"
Remark= | "11:39:17 Flow: Fixed -> 500 umol/s"
Remark= | "11:41:29 LCF Lamp: ParIn -> 740 uml, with blue = 10 percent, actinic on"
14 | 11:44:55 | 4295.5 | 0 | LCOR-450 | -0.24961 | 0.0019028 | 604.1777 | 0.03792 | 1.9258 | 32.1011 | 6 | 1.42 | 1 | 2.84 | 31.6932 | 32.1011 | 31.8114 | 410.0797 | 410.3606 | 28.6041 | 28.6483 | 61.2049 | 61.2995 | 499.8906 | 739.7606 | 528.2866 | 100.4126 | -0.83055 | 1.6595 | 0.1375 | 0.02784 | 0.010184 | 0.023159 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | 3.792e-05 | 305.2511 | 304.8432 | 118.3617 | 1.2577 | 4.8025 | 47.8274 | 19.1791 | 31.8971 | 4.7474 | 0.0019016 | 2.8766 | 1.8707 | 0.0011886 | 60.6671 | 1.4723 | 58.3329 | 410.4793 | -0.00035471
Remark= | "11:48:14 LCF Lamp: ParIn -> 275 uml, with blue = 10 percent, actinic on"
15 | 11:50:31 | 4632.5 | 0 | LCOR-290 | 2.7937 | 0.029572 | 246.5557 | 0.41324 | 1.3675 | 29.9294 | 6 | 1.42 | 1 | 2.84 | 31.1078 | 29.9294 | 31.2288 | 409.9739 | 406.4191 | 28.1578 | 28.6396 | 62.2877 | 63.3534 | 499.8763 | 274.6753 | 203.3304 | 100.411 | -0.83055 | 1.6595 | 0.1375 | 0.02784 | 0.010184 | 0.023159 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | 0.00041324 | 303.0794 | 304.2578 | 43.948 | 0.45109 | 4.2432 | 42.2583 | 13.6187 | 30.5186 | 4.389 | 0.029268 | 2.8757 | 1.5133 | 0.018319 | 24.7569 | 0.60665 | 66.9326 | 405.0911 | 0.004616
Remark= | "11:51:45 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "11:53:22 Flow: Fixed -> 500 umol/s"
16 | 11:54:27 | 4867.5 | 0 | LCOR-309 | 0.15005 | -0.0081453 | 427.5675 | -0.1426 | 1.6887 | 31.0196 | 6 | 1.42 | 1 | 2.84 | 31.2317 | 31.0196 | 31.3291 | 409.9758 | 409.8659 | 28.3293 | 28.1629 | 62.2241 | 61.8587 | 499.8416 | 399.8127 | 283.4364 | 100.4071 | -1.0615 | 1.6159 | 0.22745 | 0.05017 | 0.044503 | 0.062173 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | -0.0001426 | 304.1696 | 304.3817 | 63.97 | 0.82128 | 4.5164 | 44.9812 | 16.8183 | 31.1256 | 4.5438 | -0.0081688 | 2.8278 | 1.716 | -0.0051034 | 42.9308 | 1.0432 | 61.0794 | 409.7946 | 0.00022364
17 | 11:58:18 | 5099 | 0 | LCOR-160 | 0.54262 | -0.00963 | 486.3667 | -0.17524 | 1.7536 | 31.2891 | 6 | 1.42 | 1 | 2.84 | 31.4444 | 31.2891 | 31.5609 | 410.0422 | 409.4771 | 28.4164 | 28.212 | 61.6643 | 61.2208 | 499.8673 | 400.3753 | 688.9038 | 100.4059 | -1.0615 | 1.6159 | 0.22745 | 0.05017 | 0.044503 | 0.062173 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83311 | -0.00017524 | 304.4391 | 304.5944 | 64.06 | 0.83051 | 4.5863 | 45.6773 | 17.4652 | 31.3667 | 4.6066 | -0.0096627 | 2.8327 | 1.7739 | -0.0060363 | 48.8341 | 1.1878 | 60.162 | 409.2191 | 0.00079774
Remark= | "12:00:01 LCF Lamp: ParIn -> 580 uml, with blue = 10 percent, actinic on"
Remark= | "12:01:22 Flow: Fixed -> 500 umol/s"
18 | 12:02:51 | 5372 | 0 | LCOR-301 | 0.34108 | -0.0013449 | 797.4512 | -0.024529 | 1.7616 | 31.5496 | 6 | 1.42 | 1 | 2.84 | 31.443 | 31.5496 | 31.5712 | 409.8241 | 409.4268 | 28.8439 | 28.8154 | 62.5944 | 62.5324 | 499.8864 | 579.0473 | 801.4846 | 100.4021 | -0.60252 | 1.6374 | 0.14131 | 0.026534 | 0.014958 | 0.039445 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | -2.4529e-05 | 304.6996 | 304.593 | 92.6476 | 1.0415 | 4.6547 | 46.3605 | 17.5451 | 31.4963 | 4.6406 | -0.0013455 | 2.8931 | 1.7475 | -0.00084088 | 80.0658 | 1.9477 | 60.6583 | 409.2646 | 0.00050553
Remark= | "12:04:03 LCF Lamp: ParIn -> 800 uml, with blue = 10 percent, actinic on"
19 | 12:06:02 | 5562.5 | 0 | LCOR-613 | 2.4904 | 0.0071703 | -153.7572 | 0.13402 | 1.809 | 31.9569 | 6 | 1.42 | 1 | 2.84 | 31.6852 | 31.9569 | 31.8388 | 410.0172 | 406.9626 | 29.2716 | 29.4277 | 62.6519 | 62.9861 | 499.8833 | 799.135 | 1035.2277 | 100.3972 | -0.60252 | 1.6374 | 0.14131 | 0.026534 | 0.014958 | 0.039445 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83314 | 0.00013402 | 305.1069 | 304.8352 | 127.8616 | 1.336 | 4.7634 | 47.446 | 18.0182 | 31.8211 | 4.7269 | 0.0071522 | 2.9545 | 1.7725 | 0.0044718 | -15.4368 | -0.37782 | 60.6051 | 405.7787 | 0.0037196
Remark= | "12:08:04 LCF Lamp: ParIn -> 800 uml, with blue = 10 percent, actinic on"
Remark= | "12:08:48 Flow: Fixed -> 500 umol/s"
20 | 12:10:22 | 5822.5 | 0 | LCOR-096 | 0.027328 | -0.0037048 | 408.192 | -0.077311 | 2.0091 | 32.7953 | 6 | 1.42 | 1 | 2.84 | 32.0649 | 32.7953 | 32.1634 | 410.0422 | 410.0475 | 29.8252 | 29.7352 | 62.4753 | 62.2867 | 499.8471 | 801.4912 | 349.6149 | 100.3924 | -0.55698 | 1.6339 | 0.20304 | 0.040188 | 0.014517 | 0.042734 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83308 | -7.7311e-05 | 305.9453 | 305.2149 | 128.2386 | 1.3799 | 4.9943 | 49.7478 | 20.0126 | 32.4301 | 4.8926 | -0.0037096 | 2.9852 | 1.9074 | -0.0023181 | 40.9794 | 0.99547 | 58.0522 | 410.0345 | 3.8691e-05
Remark= | "12:13:03 LCF Lamp: ParIn -> 1030 uml, with blue = 10 percent, actinic on"
21 | 12:15:06 | 6107.5 | 0 | LCOR-083 | 0.30806 | -0.001091 | 838.0282 | -0.02557 | 2.2545 | 33.8176 | 6 | 1.42 | 1 | 2.84 | 32.6653 | 33.8176 | 32.7033 | 410.1393 | 409.7821 | 30.2552 | 30.2255 | 61.2629 | 61.2027 | 499.8805 | 1031.0273 | 1201.9153 | 100.3903 | -0.55698 | 1.6339 | 0.20304 | 0.040188 | 0.014517 | 0.042734 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83313 | -2.557e-05 | 306.9676 | 305.8153 | 164.9644 | 1.7054 | 5.2889 | 52.6832 | 22.4577 | 33.2414 | 5.121 | -0.0010914 | 3.0343 | 2.0867 | -0.00068209 | 84.1299 | 2.0451 | 55.5115 | 409.6356 | 0.00041746
Remark= | "12:16:42 LCF Lamp: ParIn -> 1200 uml, with blue = 10 percent, actinic on"
Remark= | "12:17:31 Flow: Fixed -> 500 umol/s"
22 | 12:17:31 | 6251.5 | 0 | LCOR-086 | 0.39947 | -0.0012182 | 907.3497 | -0.03127 | 2.467 | 34.4306 | 6 | 1.42 | 1 | 2.84 | 32.9692 | 34.4306 | 32.9538 | 410.3528 | 409.8887 | 29.9771 | 29.9407 | 59.6686 | 59.5961 | 499.8996 | 1198.1843 | 1029.6893 | 100.3868 | -0.12673 | 1.6337 | 0.64172 | 0.16387 | 0.49403 | 0.17758 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | -3.127e-05 | 307.5806 | 306.1192 | 191.7095 | 1.963 | 5.4727 | 54.5159 | 24.5752 | 33.6999 | 5.2542 | -0.0012187 | 3.0057 | 2.2486 | -0.00076162 | 91.0859 | 2.2136 | 52.9133 | 409.6988 | 0.00051593
23 | 12:19:34 | 6374.5 | 0 | LCOR-086 | 0.25363 | -8.3276e-06 | 48130.9084 | -0.00021637 | 2.4963 | 34.6936 | 6 | 1.42 | 1 | 2.84 | 33.2838 | 34.6936 | 33.2619 | 410.4088 | 410.1045 | 30.4532 | 30.453 | 59.553 | 59.5525 | 499.926 | 1198.8589 | 1087.0555 | 100.3831 | -0.12673 | 1.6337 | 0.64172 | 0.16387 | 0.49403 | 0.17758 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83321 | -2.1637e-07 | 307.8436 | 306.4338 | 191.8174 | 1.9548 | 5.5532 | 55.3205 | 24.8675 | 33.9887 | 5.3396 | -8.3276e-06 | 3.057 | 2.2827 | -5.2048e-06 | 4831.5317 | 117.3625 | 53.034 | 409.9839 | 0.00032808
Remark= | "12:21:08 LCF Lamp: ParIn -> 1150 uml, with blue = 10 percent, actinic on"
24 | 12:23:16 | 6596.5 | 0 | LCOR-297 | 0.10867 | -0.0021577 | 470.4567 | -0.061446 | 2.7296 | 35.5337 | 6 | 1.42 | 1 | 2.84 | 33.8641 | 35.5337 | 33.9068 | 410.071 | 409.9708 | 30.8332 | 30.7618 | 58.3669 | 58.2316 | 499.9369 | 1150.6783 | 1044.3557 | 100.3781 | -0.12673 | 1.6337 | 0.64172 | 0.16387 | 0.49403 | 0.17758 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83323 | -6.1446e-05 | 308.6837 | 307.0141 | 184.1085 | 1.8584 | 5.8175 | 57.9554 | 27.1936 | 34.6989 | 5.5549 | -0.0021593 | 3.0878 | 2.4671 | -0.0013494 | 47.2236 | 1.1475 | 50.863 | 409.9191 | 0.00013484
Remark= | "12:29:53 LCF Lamp: ParIn -> 950 uml, with blue = 10 percent, actinic on"
25 | 12:32:38 | 7159.4999 | 0 | LCOR-461 | 3.4591 | 0.013577 | -9.8521 | 0.27227 | 1.9357 | 33.8351 | 6 | 1.42 | 1 | 2.84 | 34.5085 | 33.8351 | 34.6359 | 410.1256 | 405.8409 | 33.1365 | 33.4524 | 60.5238 | 61.1007 | 499.8545 | 948.643 | 1280.3986 | 100.3926 | -0.12673 | 1.6337 | 0.64172 | 0.16387 | 0.49403 | 0.17758 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83309 | 0.00027227 | 306.9851 | 307.6585 | 151.7829 | 1.6647 | 5.2941 | 52.7337 | 19.2813 | 34.1718 | 5.3944 | 0.013512 | 3.3584 | 2.0361 | 0.008451 | -0.98908 | -0.024276 | 61.9716 | 404.1966 | 0.0053035
Remark= | "12:35:55 Flow: Fixed -> 500 umol/s"
26 | 12:38:00 | 7480 | 0 | LCOR-102 | 3.7304 | 0.034952 | 223.8403 | 0.61605 | 1.711 | 34.0402 | 6 | 1.42 | 1 | 2.84 | 34.5877 | 34.0402 | 34.733 | 410.1497 | 405.3725 | 35.5848 | 36.2974 | 64.7113 | 66.0071 | 499.8965 | 949.3297 | 1.9139 | 100.394 | 0.47803 | 1.7548 | 0.15129 | 0.1062 | 0.023305 | 0.098583 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | 0.00061605 | 307.1902 | 307.7377 | 151.8928 | 1.4777 | 5.355 | 53.3399 | 17.0426 | 34.3139 | 5.4373 | 0.034527 | 3.644 | 1.7933 | 0.021617 | 22.4722 | 0.55218 | 66.9566 | 403.5992 | 0.0061888
Remark= | "12:39:18 LCF Lamp: ParIn -> 800 uml, with blue = 10 percent, actinic on"
27 | 12:41:54 | 7714.5 | 0 | LCOR-159 | 2.5429 | 0.0013657 | -2542.022 | 0.025203 | 1.7702 | 34.1863 | 6 | 1.42 | 1 | 2.84 | 34.4209 | 34.1863 | 34.5748 | 409.9296 | 406.8652 | 36.1159 | 36.1451 | 66.2863 | 66.3398 | 499.9049 | 800.7326 | 1234.3104 | 100.3904 | 0.47803 | 1.7548 | 0.15129 | 0.1062 | 0.023305 | 0.098583 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83317 | 2.5203e-05 | 307.3363 | 307.5709 | 128.1172 | 1.459 | 5.3988 | 53.7778 | 17.6327 | 34.3036 | 5.4342 | 0.0013651 | 3.6286 | 1.8055 | 0.00085322 | -255.1946 | -6.2478 | 65.6848 | 405.6564 | 0.0041176
Remark= | "12:43:19 LCF Lamp: ParIn -> 1150 uml, with blue = 10 percent, actinic on"
28 | 12:46:33 | 7994 | 0 | LCOR-223 | 5.0412 | 0.05047 | 232.3442 | 0.8899 | 1.7194 | 34.3448 | 6 | 1.42 | 1 | 2.84 | 34.8267 | 34.3448 | 34.929 | 410.1833 | 403.7017 | 36.0948 | 37.1232 | 64.7781 | 66.6238 | 499.9174 | 1151.0323 | 1224.7533 | 100.4005 | 0.47803 | 1.7548 | 0.15129 | 0.1062 | 0.023305 | 0.098583 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8332 | 0.0008899 | 307.4948 | 307.9767 | 184.1652 | 1.6947 | 5.4466 | 54.2491 | 17.1259 | 34.5858 | 5.5201 | 0.049589 | 3.7272 | 1.7929 | 0.031071 | 23.3275 | 0.57553 | 67.4973 | 401.3054 | 0.008479
Remark= | "12:47:57 LCF Lamp: ParIn -> 1200 uml, with blue = 10 percent, actinic on"
Remark= | "12:49:10 Flow: Fixed -> 500 umol/s"
29 | 12:50:28 | 8228.5 | 0 | LCOR-419 | 2.4704 | 0.011597 | 56.1127 | 0.28077 | 2.3227 | 36.144 | 6 | 1.42 | 1 | 2.84 | 35.1566 | 36.144 | 35.2264 | 410.2541 | 407.1522 | 36.4652 | 36.7897 | 64.2551 | 64.827 | 499.9673 | 1201.5183 | 1279.7708 | 100.3961 | 0.43556 | 1.7861 | 0.1194 | 0.068348 | 0.073364 | 0.073088 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83328 | 0.00028077 | 309.294 | 308.3066 | 192.2429 | 1.8737 | 6.0162 | 59.9246 | 23.1349 | 35.6503 | 5.855 | 0.011549 | 3.6935 | 2.1614 | 0.0072227 | 5.6335 | 0.13782 | 59.5965 | 405.9779 | 0.0036265
Remark= | "12:53:16 LCF Lamp: ParIn -> 1150 uml, with blue = 10 percent, actinic on"
Remark= | "12:56:02 Flow: Fixed -> 500 umol/s"
30 | 12:58:20 | 8700.5 | 0 | LCOR-509 | 0.53222 | -0.060517 | 411.4382 | -1.1374 | 1.7482 | 36.8145 | 6 | 1.42 | 1 | 2.84 | 35.6838 | 36.8145 | 35.7432 | 409.8249 | 409.7455 | 46.0539 | 44.7502 | 78.8312 | 76.5995 | 500.0256 | 1150.6847 | 1533.1705 | 100.4057 | 0.65411 | 1.8691 | 0.12628 | 0.021227 | 0.051896 | 0.0027273 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83338 | -0.0011374 | 309.9645 | 308.8338 | 184.1095 | 2.4593 | 6.2413 | 62.1611 | 17.4109 | 36.2492 | 6.051 | -0.061834 | 4.4932 | 1.5579 | -0.038526 | 41.3108 | 1.0041 | 69.7646 | 409.4925 | 0.00090673
Remark= | "13:00:03 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
31 | 13:02:17 | 8937.5 | 0 | LCOR-505 | 1.6196 | -0.02728 | 490.6067 | -0.43505 | 1.4989 | 36.8283 | 6 | 1.42 | 1 | 2.84 | 35.7864 | 36.8283 | 35.8166 | 409.4951 | 407.7641 | 47.7787 | 47.2812 | 81.3187 | 80.472 | 499.8982 | 1098.5686 | 864.9709 | 100.4007 | 0.65411 | 1.8691 | 0.12628 | 0.021227 | 0.051896 | 0.0027273 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83316 | -0.00043505 | 309.9783 | 308.9364 | 175.771 | 2.0321 | 6.246 | 62.2109 | 14.9296 | 36.3073 | 6.0704 | -0.027545 | 4.7471 | 1.3233 | -0.017192 | 49.2573 | 1.2032 | 74.3654 | 406.9942 | 0.0029593
Remark= | "13:04:28 LCF Lamp: ParIn -> 800 uml, with blue = 10 percent, actinic on"
32 | 13:07:27 | 9248.5 | 0 | LCOR-615 | 2.0798 | -0.037598 | 484.1313 | -0.59738 | 1.4956 | 35.3675 | 6 | 1.42 | 1 | 2.84 | 35.1617 | 35.3675 | 35.1813 | 410.0408 | 407.8372 | 43.199 | 42.5126 | 76.1104 | 74.9009 | 499.9348 | 798.1895 | 228.6049 | 100.4107 | 0.65411 | 1.8691 | 0.12628 | 0.021227 | 0.051896 | 0.0027273 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83322 | -0.00059738 | 308.5175 | 308.3117 | 127.7103 | 1.6977 | 5.7643 | 57.4076 | 14.895 | 35.2646 | 5.7317 | -0.038102 | 4.2687 | 1.4629 | -0.023768 | 48.612 | 1.1871 | 72.3231 | 406.8485 | 0.0036971
Remark= | "13:09:21 LCF Lamp: ParIn -> 750 uml, with blue = 10 percent, actinic on"
33 | 13:12:08 | 9529.4999 | 0 | LCOR-215 | 3.7905 | -0.075627 | 476.7543 | -0.85701 | 1.0503 | 35.2037 | 6 | 1.42 | 1 | 2.84 | 35.283 | 35.2037 | 35.3836 | 410.3426 | 406.2108 | 47.4131 | 46.4322 | 82.9732 | 81.2566 | 499.8886 | 748.9665 | 1143.7704 | 100.4065 | 0.65411 | 1.8691 | 0.12628 | 0.021227 | 0.051896 | 0.0027273 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83315 | -0.00085701 | 308.3537 | 308.433 | 119.8346 | 1.7786 | 5.7124 | 56.8927 | 10.4605 | 35.2434 | 5.7249 | -0.077696 | 4.6621 | 1.0628 | -0.04837 | 47.8692 | 1.1737 | 80.0816 | 404.409 | 0.007506
Remark= | "13:14:17 LCF Lamp: ParIn -> 600 uml, with blue = 10 percent, actinic on"
Remark= | "13:15:28 Flow: Fixed -> 500 umol/s"
Remark= | "13:15:30 LCF Lamp: ParIn -> 600 uml, with blue = 10 percent, actinic on"
Remark= | "13:15:30 CO2 Mixer: CO2R -> 410 uml"
Remark= | "13:15:30 Coolers: Off"
Remark= | "13:15:30 Flow: Fixed -> 500 umol/s"
Remark= | "13:15:59 Flow: Fixed -> 500 umol/s"
34 | 13:19:21 | 9961.5 | 0 | LCOR-288 | 2.5241 | -0.058251 | 468.1849 | -0.63442 | 1.0202 | 33.7878 | 6 | 1.42 | 1 | 2.84 | 34.4519 | 33.7878 | 34.574 | 410.2882 | 407.5687 | 43.1581 | 42.4289 | 79.0833 | 77.7471 | 499.8426 | 600.6912 | 840.4387 | 100.4012 | -0.0018929 | 1.862 | 0.12283 | 0.042391 | 0.025496 | 0.038581 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83307 | -0.00063442 | 306.9378 | 307.6019 | 96.1106 | 1.4873 | 5.2801 | 52.5898 | 10.1609 | 34.1198 | 5.3788 | -0.059471 | 4.2599 | 1.1189 | -0.037058 | 47.0063 | 1.1487 | 79.2905 | 406.3689 | 0.004925